| Equipment Owner or Responsible Person |  | Equipment Type/Make/Model/Shape |  | Call Sign/Equipment ID |  | Registration Number |
| --- | --- | --- | --- | --- | --- | --- |
| Company the inspection is conducted for |  | Inspected by (print) |  | Inspection Company |  |  |
| Declaration Submitted | Towing Capacity | Meter Reading | First Inspection |  | Annual Inspection |  |
| Yes No |  |  | Random Inspection |  | Re-Inspection |  |

|  | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Electrical Labelling |  |  |  |
| Main Switch compliant with AS 3000 |  |  |  |
| Maximum voltage above ELV within the enclosure |  |  |  |
| Signs on any cover or door which exposes live conductors |  |  |  |
| Authorised Persons Only |  |  |  |
| Isolation point |  |  |  |
| Protection |  |  |  |
| The minimum degree of protection against access to live parts shall be IP2X |  |  |  |
| All electrical conductors terminated correctly, secured and effective as per AS3000 |  |  |  |
| Lockable isolation of electrical energy when inspection, repair or maintenance is being carried out |  |  |  |
| No GPO is preferrible if there is Earth leakage is manditory maximum of 30 mA RCD/MCB protection |  |  |  |
| Overcurrent Protection |  |  |  |
| Test that the Earth Leakage is functional and trips the relevant breaker |  |  |  |
| Indication of malfunction |  |  |  |
| Segregation of ELV and LV |  |  |  |
| The LV cables are double insulated |  |  |  |
| All cable or each conductor of a multi-core cable are insulated to the highest voltage |  |  |  |
| The LV cables are physically separated from the ELV cables by suitable continuous barriers |  |  |  |
| EWP |  |  |  |
| A ground control override shall be fitted and operational |  |  |  |
| Tilt out alarm must be fitted |  |  |  |
| Has flashing/rotating light fitted |  |  |  |
| Record of plant must contain: Type of equipment/plant operator Plant type, as per regulation Legal name of the plant manufacturer Model number of plant Serial number of plant Legal name of owner of plant Date plant was put to use by the coal operator or arrived at operation Name of competent person who has inspected the plant and who has confirmed that the plant is safe to operator at the operation Date plant was removed from operation Unladen mass of the mobile plant Maximum number of people the mobile plant is designed to transport |  |  |  |
| NDT test been completed |  |  |  |
| 3-points of contact |  |  |  |
| Walkway surfaces are to be of non-slip material |  |  |  |
| Handrails must meet the intent of AS1657; 950mm high with a mid-rail at 450mm and a kick plate fitted |  |  |  |
| Hinged or self-closing gates installed |  |  |  |
| Electric audible warning device must be installed and operational |  |  |  |
| Automatic warning system for reversing and tramming |  |  |  |
| General |  |  |  |
| Electrical enclosures and panels must be locked or require a tool to gain access. |  |  |  |
| Bushings on any cable that passes through a metallic structure |  |  |  |
| Positioning of outlets easy to access |  |  |  |
| All Earth cable to be green and yellow |  |  |  |
| Fire extinguisher installed and fully charged with inspection/service tag in date. |  |  |  |

| Result of Inspection | Pass: | Yes No |  | Follow up inspection required: |  | Yes No |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (Only issue sticker if both Elect & Mech inspections are done) | Mechanical inspection completed |  | Yes No N/A |  | Sticker Issued (circle) |  | Green Orange |
|  | Sticker number: |  |  | Expiry date |  |  |  |
| Comments or details of repairs needed |  |  |  |  |  |  |  |

I certify that this report is a true record of the equipment’s compliance.

Signature (Inspector):		Date: 		Location of Inspection: